## Cover
[Enter Job Corps Center Name]
[Enter Job Corps Center Street Address]
[Enter Job Corps Center City, State & Zip Code]
Approved - DR - 6/30/14
U.S. Department of Labor, Office of Job Corps
JOB CORPS HIGH PERFORMANCE and SUSTAINABLE BUILDINGS
COMPLIANCE TOOL for NEW BUILDINGS
Version 2.1
ENTER JOB CORP PHOTO

## Table of Contents
1 | Instructions | 10 | Ventilation Thermal Comfort
2 | Building Information & Project Team | 11 | Moisture Control
3 | Compliance Summary Checklist | 12 | Daylighting
4 | Integrative Design | 13 | Low-Emitting Materials
5 | Commissioning | 14 | Indoor Air Quality During Construction
6 | Energy Efficiency | 15 | Recycled Content
7 | Measurement and Verification | 16 | Biobased/Rapidly Renewable & Certified Materials
8 | Indoor Water | 17 | Construction Waste Management
9 | Outdoor Water | 18 | Ozone Depleting Compounds
Note: the above numbered sections are live, clickable hyperlinks to their respective worksheets.
JOB CORPS HIGH PERFORMANCE and SUSTAINABLE BUILDINGS
COMPLIANCE TOOL for NEW BUILDINGS
TABLE OF CONTENTS

## Instructions
JOB CORPS HIGH PERFORMANCE and SUSTAINABLE BUILDINGS
COMPLIANCE TOOL for NEW BUILDINGS
INSTRUCTIONS
The U.S. Department of Labor, Office of Job Corps, will incorporate the Federal High Performance Sustainable Buildings Guiding Principles to the furthest extent practical and where lifecycle cost effective.
To meet Guiding Principles, Architectural/Engineering (A/E) and Design/Build (D/B) teams will use this Compliance Tool. For each Guiding Principle category and requirement, there is a specific compliance form that describes the intent of each principle and provides detailed information about how to achieve the elements included in each. There are 15 compliance forms that collectively address each of the Guiding Principles. Any additional documentation that also will be required for attachment is listed on the compliance forms as needed. Each compliance form is provided as a separate tab in this Compliance Tool.
The Compliance Summary Checklist provides a quick view or guide for implementing the Guiding Principles. It provides a list of all of the Guiding Principles, actions, and documentation exhibits required to achieve them. As the Guiding Principles are met and incorporated into the project, marking the corresponding checkbox in the appropriate compliance form will automatically populate the Compliance Summary Checklist with the total percentage of the Guiding Principles achieved to that point. The compliance forms also provide space for status notes that transfer to the Checklist as well.
Before or upon completion of the project, each responsible team member is to fill out and sign the compliance form for each of the 15 categories and provide the required exhibits. The designated responsible team member must be a licensed architect or engineer. A completed Compliance Tool is to be used for each building over 5,000 SF.
In the event that special circumstances make the meeting of a Guiding Principle category unachievable, use the "Compliance or Status Notes" field to describe why the project could not achieve compliance. Provide copies of emails or letters that address or approve any non-compliance decisions. This Compliance Tool is to be maintained throughout the design and construction process and the Compliance Summary Checklist submitted during design and construction reviews. The "Notes" field also may be used to describe any unique or alternative compliance method, where already approved by DOL/Job Corps. At the end of the project, a completed Compliance Tool is to be submitted to DOL/Job Corps, with all fields completed and signed, and with appropriate exhibits attached.
In Brief:
HPSB Compliance Tool:
This workbook containing instructions, checklist and Compliance Forms.
Compliance Summary Checklist:
A checklist or report on overall status taken from the forms
Compliance Forms:
Guiding Principle, directions on how to comply, tracking status and confirmation fields contained in tabs.
Questions about using the tool may be directed to the ESC Project Manager or Sustainability Manager

## Building Info & Project Team
Campus Information
Building Information
| Building Name: | [Enter Building Name here]
| Building Number: | [Enter Building Number here]
| Job Corps Center Name: | [Enter Job Corps Center Name here]
Address:
City, State, Zip Code:
Phone Number:
*Information entered above will auto-populate the appropriate fields on subsequent tabs
Project Team
|  | Name / Phone Number | Initials | Role / Discipline | Email
Main Contact:
Accredited Professional:
Other Center Green Team Members:
ESC Support Team:
JOB CORPS HIGH PERFORMANCE and SUSTAINABLE BUILDINGS
COMPLIANCE TOOL for NEW BUILDINGS
BUILDING INFORMATION and PROJECT TEAM

## Compliance Summary Checklist
Date:
Submittal No.:
| Building Name: | [Enter Building Name here]
| Building Number: | [Enter Building Number here]
Guiding Principle Category | Action Required | HPSB GPs Achieved | Supporting Documents and Notes* (Required Exhibits) | Compliance Status Notes |  | 0 | 0%
0%
GP 1. Employ Integrated Design Principles
Integrative Design | Accredited Professional·Inter-sustainable team |  | AP Certificate, Team and Role Roster, Charrette Report, HPSB Checklist, ID meeting reports. | Integrative Dsn Status | FALSE
Commissioning | Commissioning: Investigation & Analysis. |  | Cx Design Review, Cx Plan | Cx Status | FALSE
| Commissioning: Implementation |  | Cx Report | Cx2 Status | FALSE
2. Optimize Energy Performance
Energy Efficiency | Energy Optimization |  | Summary of Building Energy Simulations, Narrative | EE Status | FALSE
Measurement & Verification | Building level utility meters |  | Metering Specifications | M&V 1 Status | FALSE
| Data entered into High Performance database |  | Metering Plan | M&V 2 Status | FALSE
3. Protect and Conserve Water
Indoor Water | Indoor Plumbing Fixture Efficiency, 20 % |  | Calculations | Indoor Water Status | FALSE
Outdoor Water | Water Efficient Landscaping, Reduce by 50% |  | No Irrigation statement or Calculations and narrative | Outdoor Water Status | FALSE
| Storm-water management |  | Calculations, Narrative | Stormwater Status | FALSE
4. Enhance Indoor Environmental Quality
Ventilation and Thermal Comfort | ASHRAE Standard 55 & 62.1 |  | Compliance Form only | Vent &Thermal Comfort Status | FALSE
Moisture Control | Moisture Control Strategy |  | MEP Verification letter and Narrative | MC Status | FALSE
Daylighting | Lighting Control for 50% of building occupants |  | A/E Verification letter | Lighting Control Status | FALSE
| 2% daylight factor in 75% of all spaces |  | Calculations and Narrative | Daylight Status | FALSE
Low-Emitting Materials | Materials and products with low pollutant emissions |  | Specification sections, Letter confirming submittal review, and periodic verification of compliance during construction. | Low Emitting Status | FALSE
Indoor Air Quality during Construction | SMACNA & building flush out |  | Construction IAQ specification. Constr. IAQ Plan, Copy of Flush out schedule, letter. | Construction IAQ Status | FALSE
5. Reduce Environmental Impact of Materials
Recycled Content | EPA recycled content |  | Calculation of recycled content | Recycled Content Status | FALSE
Rapidly Renewable & Bio Based | USDA designated products |  | Calculations of Rapidly Renewable | Rapidly Renewable Status | FALSE
Certified Wood | FSC Certified Wood, |  | Calculations for FSC Certified wood | FSC Wood Status | FALSE
Construction Waste | 50% diverted from landfill |  | Specification, Calculator, letter | Construction Waste Status | FALSE
Ozone Depleting Compounds | Ozone Protection |  | Compliance Form only | Ozone Depletion Status
* NOTE: Provide copies of emails or letters from DOL approving alternate compliance or approval of non-compliance of unachieved GP categories.
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE SUMMARY CHECKLIST

## Integrative Design
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle I. Employ Integrated Design Principles
INTEGRATIVE DESIGN
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Use a collaborative, integrated planning and design process that: | Create an inter-sustainable team including an accredited professional (AP) assigned to project. Include name of AP below. |  | Integrative Dsn Status
▪ Initiates and maintains an integrated project team in all stages of a project’s planning ▪ Establishes performance goals for siting, energy, water, materials, and indoor environmental quality along with other comprehensive design goals; and ensures incorporation of these goals throughout the design lifecycle of the building ▪ Considers all stages of the building's life cycle, including deconstruction | Using the ANSI MTS 1.0 WSIP standard as a guideline, Provide phase based reports and strategy narratives how the project will meet or contribute to meeting the Guiding Principles requirements and targets. Implement at least 3 (three) Integrated Design workshops during the design process.
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Sustainable Design Professional accreditation (LEED AP) certificate
Roster of Team Members & roles
Charrette report including statements of targets and goals.
HPSB (or LEED) Checklist and reports from 2 additional Integrated Design meetings
Resources
http://www.wbdg.org/ccb/VA/VAENERGY/moufinal.pdf
http://www.wbdg.org/design/engage_process.php
www.usgbc.org
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Commissioning
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle I. Employ Integrated Design Principles
COMMISSIONING
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent 1: Employ total building commissioning (Cx) practices tailored to the size and complexity of the building and its system components in order to verify performance of building components and systems and help ensure that design requirements are met. This should include a designated commissioning authority (CxA), inclusion of commissioning requirements in construction documents, a commissioning plan, verification of the installation and performance of systems to be commissioned, and a commissioning report. | A qualified CxA (At least 2 previous building project Cx experience) and shall: |  | Cx Status
Review and comment on design drawings and Cx specifications for clarity and completeness.
Provide a Cx plan
Verify and installation and performance of the following systems: HVAC&R, Lighting and daylighting controls, domestic hot water, renewable energy systems (if any)
Intent 2: (Provide a) verification of the installation and performance of systems to be commissioned, and a commissioning report. | Provide a Cx Report |  | Cx2 Status
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
CxA Design review report
Cx Plan
Cx Report Summary
Resources
http://www.wbdg.org/ccb/FEDGREEN/fgs_019100.pdf
http://www.wbdg.org/project/buildingcomm.php
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Energy Efficiency
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle II. Optimize Energy Performance
ENERGY EFFICIENCY
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Demonstrate energy optimization performance. Establish a whole building performance target that takes into account the intended use, occupancy, operations, plug loads, other energy demands, and design to earn the ENERGY STAR® targets for new construction and major renovation where applicable. For new construction, reduce the energy cost budget by 30 percent compared to the baseline building performance rating per the American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc., (ASHRAE) and the Illuminating Engineering Society of North America (IESNA) Standard 90.1-2007, Energy Standard for Buildings Except Low-Rise Residential. For major renovations, reduce the energy cost budget by 20 percent below pre-renovations 2003 baseline. | New Construction: Meet Guiding Principle as stated at left. |  | EE Status
Performance Options for New Buildings
Option A. Energy Usage Reduction: Reduce measured building energy use by 30% compared to measured building energy use in 2003, design (not including designated mission, non-building intensive use).
Option B. Energy Usage Reduction: Reduce energy use by 30% compared to the ASHRAE 90.1 2007 baseline building design (not including designated mission, non-building energy intensive usage).
Option C. Energy Star® Rating: For buildings ratable by ENERGY STAR's® Portfolio Manger tool, achieve an energy performance rating of at least 75. If unable to document through Portfolio Manager benchmark, use LABS21 database to demonstrate a 25% improvement above average.
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Summary of Energy Simulation .
Narration of Building Energy Optimization Strategy
Resources
http://www.wbdg.org/references/mou_ee.php
http://www.wbdg.org/pdfs/10cfr435.pdf
http://www.energystar.gov/index.cfm?c=evaluate_performance.bus_portfoliomanager#rate
http://www1.eere.energy.gov/wip/solutioncenter/pdfs/T2_ICF_FS7_ESPCProcess_FINAL_052311.pdf
http://www.energystar.gov/index.cfm?c=business.bus_index
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## M & V
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle II. Optimize Energy Performance
MEASUREMENT & VERIFICATION
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Provide means to measure and verify ongoing energy savings and performance. In accordance with DOE guidelines issued under Section 103 of the Energy Policy Act of 2005 (EPAct), install building level utility meters in new major construction and renovation projects to track and continuously optimize performance. Compare actual performance data from the first year of operation with the energy design target, measure all new major installations using the ENERGY STAR® Benchmarking Tool for building and space types covered by ENERGY STAR®. Enter data and lessons learned from sustainable buildings into the High Performance Buildings Database. (http://www.eere.energy.gov/femp/highperformance/index.cfm) | Install building utility level meters to provide accurate energy use information to support energy management. |  | M&V 1 Status
| Provide and M&V Plan |  | M&V 2 Status
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Metering Specification or approved submittal(s).
M&V Plan
Resources
http://www.wbdg.org/pdfs/10cfr435.pdf
http://www.energystar.gov/index.cfm?c=evaluate_performance.bus_portfoliomanager
http://www1.eere.energy.gov/wip/solutioncenter/pdfs/T2_ICF_FS7_ESPCProcess_FINAL_052311.pdf
http://www.energystar.gov/index.cfm?c=evaluate_performance.bus_portfoliomanager#rate
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Indoor Water
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle III. Protect and Conserve Water
INDOOR WATER
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Employ strategies that in aggregate use a minimum of 20 percent less potable water than the indoor water use baseline calculated for the building, after meeting the Energy Policy Act of 1992 fixture performance requirements. | Show a 20% reduction of fixture potable water use from the calculated fixture water usage baseline (Energy Policy Act of 1992). Use tools such as Watergy, the ENERGY STAR® Portfolio Manager for water savings or other water use savings calculator to establish baseline usage. |  | Indoor Water Status
EO 13423 Guidance to Reduce Water Consumption
Beginning in 2008, Federal agencies must reduce water consumption intensity through life-cycle cost-effective measures, relative to the baseline of the agency’s water consumption in fiscal year 2007 by 2 percent annually through the end of FY 2015 or 16 percent by the end of FY 2015. DOE Supplemental Guidance To The Instructions for Implementing Executive Order 13423 “Strengthening Federal Environmental, Energy, and Transportation Management” Establishing Baseline and Meeting Water Conservation Goals of Executive Order 13423. Executive Order 13423 requires all Federal agency heads to develop a water-use baseline based on FY 2007 water consumption. All potable water use in covered facilities should be reported, whether used for human consumption, building process, power plant or building cooling, landscape watering, irrigation, or industrial uses.
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Resources
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Outdoor Water
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle III. Protect and Conserve Water
OUTDOOR WATER
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent 1: Use water efficient landscape and irrigation strategies, including water reuse and recycling, to reduce outdoor potable water consumption by a minimum of 50% over that consumed by conventional means (plant species and plant densities). | Achieve a 50% reduction in potable water use for irrigation over conventional means of irrigation by using Watergy, or other water use calculation tools to provide a statement on how water usage was reduced and calculated. ▪ Or reduce building related irrigation water use by 50% compared to measured irrigation water use in 2007. ▪ Or document minimal use of irrigation water due to nominal or no landscape. |  | Outdoor Water Status
Intent 2: Employ design and construction strategies that reduce storm water runoff and polluted site water runoff. | Post development runoff not to exceed pre-development runoff. (EISA 2007 Sec. 438) and narrative. If not achieved, provide reasons why, technically, compliance was not feasible. |  | Stormwater Status
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Statement of no irrigation or Calculations and Narrative showing required use level.
Pre and Post-construction site Run-off Calculations Narrative
Resources
http://www.epa.gov/oaintrnt/stormwater/requirements.htm
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Ventilation & Thermal Comfort
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle IV. Enhance Indoor Environmental Quality
VENTILATION & THERMAL COMFORT
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Meet the current ASHRAE Standard 55-2007, Thermal Environmental Conditions for Human Occupancy, including continuous humidity control within established ranges per climate zone, and ASHRAE Standard 62.1-2007, Ventilation for Acceptable Indoor Air Quality. | Document compliance with ASHRAE Standards: ▪ 55-2007 ▪ 62.1-2007 |  | Vent &Thermal Comfort Status
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
None, Provided by Confirmation
Mandates
41 CFR § 102-74.195:
41 CFR § 102-74.185(b)
Resources
http://www.wbdg.org/references/mou_vtcomfort.php
http://www.ashrae.org/
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Moisture Control
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle IV. Enhance Indoor Environmental Quality
MOISTURE CONTROL
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Establish and implement a moisture control strategy for controlling moisture flows and condensation to prevent building damage and mold contamination. | Design building systems to address condensation and moisture concerns. |  | MC Status
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Letter by A/E narrating moisture control strategy
Resources
http://www.wbdg.org/ccb/VA/VAENERGY/moufinal.pdf
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Daylighting
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle IV. Enhance Indoor Environmental Quality
DAYLIGHTING
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent 1: For at least 50% of building occupants, use dimming controls that enable adjustments to suit the task needs and preferences of individuals or a group sharing multi-occupant space or working area. | Document that individual lighting control is available for 50% of the occupants by simple schematic of floor layout, showing locations of manual lighting controls (such as task lighting) or statement based upon visual audit. |  | Lighting Control Status
Intent 2: Achieve a 2% daylight factor (excluding all direct sunlight penetration) in 75% of all spaces occupied for critical visual tasks, not including copy rooms, storage areas, mechanical, laundry and other low occupancy support areas. | Document a minimum daylight factor of 2% (excluding all direct sunlight penetration) in 75% of all space occupied for critical visual tasks (see below for options). To document Intent (2) conduct a Site Audit at Existing Buildings |  | Daylight Status
Site Audit at Existing Buildings (Intent 2)
Conduct a visual site audit of the critical visual task areas and offices (not including spaces that daylighting hinders mission objective) and provide summary statement that daylighting requirements are met by either indoor light measurements, glazing factor calculations or by computer simulation. The following are typical methods to document daylighting performance
Measurement
Demonstrate through records of indoor light measurements, that a minimum daylight illumination level of 25 foot-candles has been achieved in at least 75% of all regularly occupied areas.
Calculation
Achieve a minimum glazing factor of 2% of at least 75% of all regularly occupied areas. Calculate the glazing factor as follows:
Computer Simulation
Demonstrate through computer simulation that a minimum daylight level of 25 foot-candles has been achieved in at least 75% of all regularly occupied areas. Modeling must demonstrate 25 horizontal foot-candles under clear sky conditions, at noon on the equinox, at 30 inches above the floor.
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Memo confirming lighting controls constructed to meet requirements
Memo narrating access to daylight
Daylighting Calculations showing 75% compliance
Resources
http://www1.eere.energy.gov/buildings/commercial/lighting.html
http://www.wbdg.org/resources/daylighting.php
http://windows.lbl.gov/daylighting/designguide/dlg.pdf
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Low-Emitting Materials
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle IV. Enhance Indoor Environmental Quality
LOW-EMITTING MATERIALS
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Specify materials and products with low pollutant emissions, including adhesives, sealants, paints, carpet systems, and composite wood products | Specify low emitting (low VOC) materials to SCAQMD, GreenSeal, and CRI Green Label Plus Standards. Specify composite wood products with no added urea formaldehyde. Verify levels are met on submittals and periodically (1x per month) check on site materials for compliance. |  | Low Emitting Status
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Letter confirming standards were complied with by inclusion in specifications, submittal review, and on-site checking of materials.
Itemize confirmation by the following categories: Paint and Coatings, Sealants & Adhesives, Carpet Products, & Composite Wood Products.
Resources
http://www.wbdg.org/design/greenspec.php
http://www.wbdg.org/references/mou_lem.php
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## IAQ During Construction
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle IV. Enhance Indoor Environmental Quality
INDOOR AIR QUALITY DURING CONSTRUCTION
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Follow the recommended approach of the Sheet Metal and Air Conditioning Contractors' National Association Indoor Air Quality Guidelines for Occupied Buildings under Construction, 1995. After construction and prior to occupancy, conduct a minimum 72-hour flush-out with maximum outdoor air consistent with achieving relative humidity no greater than 60 percent. After occupancy, continue flush-out as necessary to minimize exposure to contaminants from new building materials. | Specify and provide a Construction IAQ Management Plan. Use SMACNA " IAQ guidelines for Occupied Buildings under Construction" 1995 Chapter 3, Provide post construction building flush out per item B, below. Use MERV 8 filters during flush out, where applicable. To document Intent comply with A, B, and C below. |  | Construction IAQ Status
Intent Documentation Requirements
Provide documentation or compliance with this Guiding Principle (by meeting the provisions of A, B & C below), if other policies are already in place to cover these practices please reference them. Include any documentation necessary to demonstrate compliance. If no current renovations are planned for the site, have a spec sheet on file that covers this area for future construction projects.
A. During Construction meet or exceed the recommended design approaches of the Sheet Metal and Air Conditioning National Contractors Association (SMACNA) " IAQ guidelines for Occupied Buildings under Construction" 1995 Chapter 3.
B. Perform a flush out procedure as follows: After construction and all interior finishes have been installed, install new filtration media and flush out the affected space. The flush out must be done by supplying a total outdoor air volume of 14,000 cubic feet per square foot of floor area while maintaining an internal temperature of at least 60 degrees F and maintaining a relative humidity no higher than 60% where cooling mechanisms are operated. The flush out may continue during occupancy.
C. If air-handlers must be used during construction, filtration media with MERV 8 must be used at each return air grille, as determined by ASHRAE 52.2-1999
Confirmation
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Copy of Construction IAQ Management Plan, Copy of Flush out schedule
Construction IAQ Management Plan
Letter from A/E Confirming implementation of IAQ Mgt plan
Resources
http://www.wbdg.org/ccb/VA/VAENERGY/moufinal.pdf
Sheet Metal and Air Conditioning Contractors' National Association, www.smacna.org
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Recycled Content
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle V. Reduce Environmental Impact of Materials
RECYCLED CONTENT
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: For EPA-designated products, use products meeting or exceeding EPA's recycled content recommendations. For other products, use materials with recycled content such that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least 10% (based on cost) of the total value of the materials in the project. | Use materials with recycled content such that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least 10% (based on cost) of the total value of the materials in the project. Use a project schedule of values for Divisions 2-10 with the costs of procured materials as a basis. Obtain statements of recycled content from suppliers when not provided in submittals. |  | Recycled Content Status
Confirmation: "Project incorporates recycled content at or above the required level."
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Copy of calculation spreadsheet showing recycled content meeting 10% by value for division
Resources
http://www.wbdg.org/references/mou_rc.php
http://www.epa.gov/cpg/products.htm
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Rapidly Renewable & Cert. Mats.
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle V. Reduce Environmental Impact of Materials
RAPIDLY RENEWABLE & CERTIFIED MATERIALS
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: For USDA-designated products, use products meeting or exceeding USDA’s biobased content recommendations. For other products, use biobased products made from rapidly renewable resources and certified sustainable wood products. | 1. Use materials with rapidly renewable, and FSC certified content such that: 1. the sum of rapidly renewable content constitutes at least 2.5% (based on cost) of the total value of the materials in the project. Use a project schedule of values for Divisions 2-10 with the costs of procured materials as a basis. |  | Rapidly Renewable Status
| 2. The sum of FSC certified wood constitutes at least 50% of the cost value of wood materials in the project. Obtain Chain of custody letters or numbers when not provided in submittals. 3. Biobased substances used where applicable. |  | FSC Wood Status
Confirmation: "Project incorporates rapidly renewable, FSC Certified, and biobased materials at or above required levels".
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Calculator of percentage of rapidly renewable materials incorporated.
Calculator of percentage of FSC certified wood.
Resources
http://www.hss.doe.gov/pp/epp/epspecs.html
http://www.wbdg.org/references/mou_bc.php
http://www.biopreferred.gov/Default.aspx?SMSESSION=NO
http://www.biopreferred.gov/Catalog.aspx
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Construction Waste Management
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle V. Reduce Environmental Impact of Materials
CONSTRUCTION WASTE MANAGEMENT
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: During a project's planning stage, identify local recycling and salvage operations that could process site related waste. Program the design to recycle or salvage at least 50% construction, demolition and land clearing waste, excluding soil, where markets or on-site opportunities exist. Have a plan to divert construction waste during renovations, include agreements with local recycling and product reclaiming services. Examples of waste include building components (wall studs, insulation, doors, windows), panels, attached finishing's (drywall, trim, ceiling panels) carpet and other flooring material, adhesives, sealants, paints, and coatings. | Document that at least 50% of waste from the project is being diverted from landfills and incineration facilities. Documentation may be in the form of hauler statements, manifests, agreements, or contracts with local recycling and product reclaiming services. Waste may be apportioned by major categories. Keep and maintain a calculator of monthly amounts diverted that includes volume and destination. |  | Construction Waste Status
Confirmation: "Project incorporates recycled content at or above the required level."
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
Construction Waste Diversion Plan
Copy of waste diversion calculator.
Letter confirming actual amount of waste diverted from landfill or incinerator
Resources
http://www.wbdg.org/references/mou_cw.php
http://www.wbdg.org/ccb/FEDGREEN/fgs_017419.pdf
http://www.epa.gov/epaoswer/non-hw/debris-new/pubs.htm
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM

## Ozone Depleting Compounds
[Enter Building Name here] | [Enter Job Corps Center Name here]
Guiding Principle V. Reduce Environmental Impact of Materials
OZONE DEPLETING COMPOUNDS
Guiding Principle | How to Comply | Documents On File? | Compliance or Status Notes
Intent: Eliminate the use of ozone depleting compounds during and after construction where alternative environmentally preferable products are available, consistent with either the Montreal Protocol and or Title VI of the Clean Air Act Amendments of 1990, or equivalent overall air quality benefits that take into account life cycle impacts. | ▪ Document zero use of CFC-refrigerants (policy, equipment specification, procurement specification or contract) unless a third party audit shows that a replacement or conversion is not economically feasible - in which case show that a phase out plan is in place. |  | Ozone Depletion Status
▪ Follow the provisions of the following: FAR 52.223-11 Ozone Depleting Substances, FAR 52.223-12 Refrigeration Equipment and Air conditioners.
▪ Use all alternatives consistent with EPA's Significant New Alternatives Policy (SNAP) regulatory requirements.
▪ Do not purchase aerosols or foam products except for those permitted by 40 CFR part 82 subpart C.
▪ Do not use halons in fire suppression.
Confirmation: "Project incorporates recycled content at or above the required level."
Sustainable Design Accredited Professional (AP) Assigned to Project:
Building Name: | [Enter Building Name here]
Verification By:
Sustainable Design Professional Accreditation:
Title :
| Signature | Date
Required Exhibits
None. Provided by above confirmation
Resources
http://www.epa.gov/ozone/snap/
Refrigeration: http://farsite.hill.af.mil/archive/Far/1997-11_cd99o5/52_220.htm#P1283_141632
http://ozone.unep.org/pdfs/Montreal-Protocol2000.pdf
Job Corps High Performance and Sustainable Buildings Guiding Principles
COMPLIANCE FORM